Vw3000 Professional Intelligent Access Control Management System Operation Manual

Revision date: September 18, 2024

Directory

(Please open the 'Document Structure Diagram' under the 'View' section, which will facilitate your reading of this manual)

Directory

Chapter 1 Basic Operation of Software	3

1.1 Login and Access to Operating Software	3

1.2 Equipment parameter settings	4

1.2.1 Add Controller	4

1.2.2 Modify door name	5

1.2.3 Setting door control mode	6

1.2.4 Change door opening delay	8

1.3 Department and Registration Card User Operations	9

1.3.1 Setting up departments	10

1.3.2 Adding Registered Card Users	11

1.3.3 Add/Remove Privilege	12

1.4 basic operation	12

1.4.1 Remote Control	13

1.4.2 Real time monitoring	15

1.4.3 Change Privilege	15

1.4.4 Upload Config	16

1.4.5 Swipe Records	17

1.5 Backup and Restore of Database	17

1.5.1 Database Storage Path	17

1.5.2 Backup and Restore	17

# Chapter 1 Basic Operation of Software

## Login and Access to Operating Software

- Extract the file "Vw3000English_20240727_150720.zip" and obtain the "Vw3000English" folder. Click to enter the "Vw3000English" folder.

- Double click "windows-1StartVw3000. bat" → Run directly

- Enter the default username: abc Password: 123, click on [Login].

- Display the main operation interface after logging in

## Equipment parameter settings

### Add Controller

Enter the software search and add controller

### Modify door name

### Setting door control mode

Description of door control mode：

Control：The door is in a locked state and can be opened by swiping a card, pressing a button, or remotely. After unlocking, it will automatically close after a certain period of time (delayed opening time);

Normal Open：The door is in an unlocked state and remains locked at all times;

Normal Closed：The door is locked and cannot be opened by swiping a card or pressing a button.

### Change door opening delay

Door opening delay: After unlocking for a certain period of time (door opening delay time), the lock will automatically close.

## Department and Registration Card User Operations

### Setting up departments

### Adding Registered Card Users

### Add/Remove Privilege

#### Add Privilege

#### Remove Privilege

## basic operation

### Remote Control

#### Remote Door Opening

#### Detection Controller

#### Calibration Time

#### Clear Info

### Real time monitoring

### Change Privilege

#### Add Privilege

#### Remove Privilege

### Upload Config

UploadConfig：Write the settings and permission list for the controller in the software into the controller.

### Swipe Records

## Backup and Restore of Database

### Database Storage Path

Vw3000English\Vw3000\db

### Backup and Restore

Backup: Copy the database file to another path for storage

Restore: Copy the backed up database file to the path "Vw3000English\ Vw3000 \ db" for replacement.